# Perform autoruns with simpleautorun
For test of devices supporting simple protocol via socket connection the application simpleautorun was implemented. To start a test the following command has to be entered in the shell:
simpleautorun -x <command-file>
The command-file is read line by line. Each line contains either a command for simpleautorun itself or for devices connected. Empty lines or lines starting with ‘#’ are ignored. To study or test a simple example, see file autorun-example in this folder. The following command are supported by simpleautorun:
## Command “OpenIPPort“
This command opens a connection to a socket supporting simple protocol. All connections opened are enumerated staring with 0.
The following parameters are expected:
- IP-adress (STRING)
- IP-port (INT)
Command response does not contain further data.
## Command “SelectIPConnection“
This command selects the connection currently active for next commands.
The following parameter is expected:
Connection number (INT): The connection number which was applied when the connection was opened (see Command “OpenIPPort“).
Command response does not contain further data.
## Command “WaitMs“
To add delays in the sequence use WaitMs.
The following parameter is expected:
Ms (INT): Delay in [ms]
Command response does not contain further data.
## Command “SetTag“
With this command loop tags can be set.
The following parameter is expected:
Name (STRING): Name / identifier of the loop tag
Command response does not contain further data.
## Command “LoopTag“
This command was added to run loops.
The following parameters parameters are expected:
- Name of target tag (STRING): Name / identifier of the loop tag (siehe Command “SetTag“)
- Number of loops (INT): By setting 0 the loop will never be finished.
Command response does not contain further data.
## Command “SetOnErrorStop“
With this command the behaviour can be set in case a command response notifies an error.
The following parameters parameter is expected:
Abort on error (BOOL): By setting to 1 the sequence is aborted in case a command to a connected device return an error. Deaultt: 0 (errors returned are ignored).
Command response does not contain further data.