# Perform autoruns with simpleautorun
For test of devices supporting simple protocol via socket connection the application simpleautorun was implemented. To get the available command line parameters enter on the shell:
simpleautorun --help
To start a test, the following command has to be entered in the shell:
simpleautorun -x <command-file>
The command-file is read line by line. Each line contains either a command for simpleautorun itself (internal commands) or for devices connected (external commands). Empty lines or lines starting with ‘#’ are ignored. To study or test a simple example, see example files in this folder.
In case of error on internal command, the sequence stops except command ‘CheckLastResponse’ (see 1.7) which follows the setting made by ‘SetOnErrorStop’ (see 1.6) The following internal commands are supported by simpleautorun:
## Command “OpenIPPort“
This command opens a connection to a socket supporting simple protocol. All connections opened are enumerated starting with 0.
The following parameters are expected:
- IP-adress (STRING)
- IP-port (INT)
Command response does not contain further data.
## Command “SelectIPConnection“
This command selects the connection currently active for next commands.
The following parameter is expected:
Connection number (INT): The connection number which was applied when the connection was opened (see Command “OpenIPPort“).
## Command “WaitMs“
To add delays in the sequence use WaitMs.
The following parameter is expected:
Ms (INT): Delay in [ms]
## Command “SetTag“
With this command loop tags can be set.
The following parameter is expected:
Name (STRING): Name / identifier of the loop tag
## Command “LoopTag“
This command was added to run loops.
The following parameters are expected:
- Name of target tag (STRING): Name / identifier of the loop tag (see Command “SetTag“)
- Number of loops (INT): By setting 0 the loop will never be finished.
## Command “SetOnErrorStop“
With this command the behaviour can be set in case a command response notifies an error.
The following parameter is expected:
Abort on error (BOOL): By setting to 1 the sequence is aborted in case a command to a connected device return an error. Default: 0 (errors returned are ignored).
## Command “CheckLastResponse“
With this command the response of the last command can be checked.
The following parameters are expected:
- Expected data (STRING): The data returned from previous command expected.
- Ignore case (BOOL): Deactivate case sensitivity ‘a’ is same as ‘A’
## Command “MsgAndWait“
This command displays a message waits until the user presses <RETURN>.
The following parameter is expected:
Message String (STRING): The string displayed in the box.